Aeroponics notes
9/1/178
building a test aeroponics system in the shop.
Design work:
make piping diagram
make schematic of water control
make schematic of nutrient control
make library of online documents for project
write up water control software
write up nutrient control software
write up sensor software
write up some kind of spec
create spreadsheet for parts list
layout screen shots for Django UI

basic ideas
water control software for arduino 1:
turns on/off pump at intervals set by master. Needs to know if lights are on or off. Needs timing for lights on and timing for lights off. Dynamics can be changed by master. Connected to master through usb. Talks to other arduinos with wire protocol on i2c bus.
Turns on and off fill valve on commands from master based on pressure sensor in reservoir.

Sensor input arduino 2:
reads reservoir pressure, line pressure, ph, ec, water temp.

Dose control software for arduino 3:
turns on peristaltic pumps for ph up, ph down, and four nutrient pumps. Canna A, canna B, h202, canna boost. Commands come from master based on nutrient use – tbd – chromatography or photospectometry